## Slide 1
Commercial Building Electrical Systems - Lighting

## Slide 2
Commercial Building Electrical Systems - Lighting

## Slide 3
Lamp Types
Light Emitting Diode - LED
Fluorescent - FL
Compact Fluorescent (CFL)
Incandescent (INC)
Halogens
High Intensity Discharge (HID)
  High Pressure Sodium (HPS)
  Metal Halide (MH)
  Mercury Vapor (MV)
  Low Pressure Sodium (LPS)
Commercial Building Electrical Systems - Lighting

## Slide 4
Light Emitting Diode
Commercial Building Electrical Systems - Lighting

## Slide 5
T5 5 x 1/8" = 5/8"
T8 8 x 1/8" = 1"
Commercial Building Electrical Systems - Lighting

## Slide 6
Commercial Building Electrical Systems - Lighting

## Slide 7
Shape
General (A)
Globe (G)
Decorative
Typical
40 W to 100 W
Commercial Building Electrical Systems - Lighting

## Slide 8
Low Pressure Discharge
Compact Fluorescent
Fluorescent
Low Pressure Sodium
High Pressure Discharge
Metal Halide
High Pressure Sodium
High Pressure Mercury-Vapor
High-Intensity Discharge (HID)
Mercury-vapor lamps
Metal halide lamps
Ceramic discharge metal halide lamps
Sodium vapor lamps
Xenon arc lamps
Ultra-High Performance (UHP)
Commercial Building Electrical Systems - Lighting

## Slide 9
Commercial Building Electrical Systems - Lighting

## Slide 10
Commercial Building Electrical Systems - Lighting

## Slide 11
Watts vs. Lumens
40W bulb: at least 450 lumens
60W bulb: at least 800 lumens
75W bulb: at least 1,100 lumens
100W bulb: at least 1,500 lumens
Fact: The more lumens of light you get per watt of electricity, the more efficient the bulb is.
A 10W LED can easily outshine a 12W competitor if it converts watts to lumens more efficiently.
Efficiency = lumens / watts
Commercial Building Electrical Systems - Lighting

## Slide 12
Commercial Building Electrical Systems - Lighting
A19 LED filament bulbs in ceiling fan fixture
A21 LED bulbs in bedroom lamps
A19 gold-tint LED filament bulb in porch light fixture
A19 LED fireworks bulbs in string lights
A Group

## Slide 13
Standard/Arbitrary (A) Bulb
Most widely used and thought of when it comes to household lighting.
These bulbs work well for a variety of applications
Numbers in each code refer to the bulb’s diameter in one-eighths of an inch.
Commercial Building Electrical Systems - Lighting

## Slide 14
Commercial Building Electrical Systems - Lighting

## Slide 15
Commercial Building Electrical Systems - Lighting
G14 LED bulbs in ceiling light fixture
G30 LED bulbs in bathroom vanity
G30 LED filament bulb in porch light fixture
G16 gold-tint LED filament bulbs in ceiling light fixture
,,,
G Group

## Slide 16
Globe (G) Bulb
Full, round shape and are available in various sizes.
The most common type is the large G30 bulb, which is used in bathroom and makeup vanities.
Depending on the bulb, numbers in each code can refer to the bulb’s diameter in one-eighths of an inch or in millimeters.
Commercial Building Electrical Systems - Lighting

## Slide 17
Commercial Building Electrical Systems - Lighting
B10 LED bulbs in wall sconce
CA10 LED bulbs in chandelier
C9 LED bulbs in Christmas light strings
C7 LED bulb in night light
,,,
B and C Group

## Slide 18
Commercial Building Electrical Systems - Lighting
Conical (C) – Conical Angular (CA) – Blunt-Tip (B) Bulbs
All of the bulbs in these groups resemble the shape of a candle flame and are often referred to as candle bulbs.
Chandeliers, night lights, decorative home lighting applications
Numbers in each code refer to the bulb’s diameter in one-eighths of an inch.

## Slide 19
Commercial Building Electrical Systems - Lighting
BR30 LED bulbs in home theater can lights
BR40 LED bulbs in living room can lights
BR30 LED bulbs in bedroom can lights
BR40 LED bulbs in kitchen can lights
,,,
BR Group

## Slide 20
Commercial Building Electrical Systems - Lighting
Bulged Reflector (BR) Bulb
These bulbs can have a frosted, clear, or patterned dome-shaped lens that diffuses light and provides a gradual fade into nonilluminated areas.
Numbers in each code refer to the bulb’s diameter in one-eighths of an inch.

## Slide 21
Commercial Building Electrical Systems - Lighting
PAR38 LED bulbs in garage security light
PAR30 LED bulbs in recessed soffit light fixtures
PAR16 LED bulbs in ceiling fan fixture
PAR38 LED bulb in kitchen can light
,,,
PAR16 LED bulbs in eyeball light fixtures
PAR Group

## Slide 22
Commercial Building Electrical Systems - Lighting
Parabolic Aluminized Reflector (PAR) Bulb
Traditional incandescent PAR bulbs, a U-shaped reflector is used to maximize brightness and direct light through the front of the bulb in a narrow spot beam or wide flood beam pattern.
Numbers in each code refer to the bulb’s diameter in one-eighths of an inch. The numbers after “AR” refer to the bulb’s diameter in millimeters.

## Slide 23
Commercial Building Electrical Systems - Lighting
MR11 LED bulbs in path lights
MR16 LED bulbs in ceiling fan fixture
MR11 LED bulbs in bollard lights
MR16 LED bulbs in kitchen track light fixture
MR Group

## Slide 24
Commercial Building Electrical Systems - Lighting
Multifaceted Reflector (MR) Bulb
The facets create a concentrated beam of light that can be displayed in a narrow spot or wide flood beam pattern.
Numbers in each code refer to the bulb’s diameter in one-eighths of an inch.

## Slide 25
Commercial Building Electrical Systems - Lighting
T10 LED bulb in freezer
T14 LED bulbs in bathroom vanity light fixture
T7 LED bulb in wall sconce
T8 LED bulbs in garage tube light fixture
T8 LED bulb in basement tube light fixture
T Group

## Slide 26
Commercial Building Electrical Systems - Lighting
Tubular (T) Bulb
Depending on their size, these bulbs can be used in applications ranging from chandeliers, wall sconces, and pendant lights to basement and garage light fixtures.
Numbers in each code refer to the bulb’s diameter in one-eighths of an inch.

## Slide 27
Commercial Building Electrical Systems - Lighting

## Slide 28
Surface
Wall
Ceiling
Recessed
Suspended
Lay-In
Under-Cabinet
Cove
Track
Commercial Building Electrical Systems - Lighting

## Slide 29
Commercial Building Electrical Systems - Lighting

## Slide 30
Commercial Building Electrical Systems - Lighting

## Slide 31
Commercial Building Electrical Systems - Lighting

## Slide 32
Commercial Building Electrical Systems - Lighting

## Slide 33
Commercial Building Electrical Systems - Lighting

## Slide 34
Five Guys Burgers and Fries

## Slide 35
Five Guys Burgers and Fries

## Slide 36
Five Guys Burgers and Fries

## Slide 37
Electrical Energy Costs
Commercial Building
Lighting
Cooling and Heating

## Slide 38
Daylighting
Introducing natural light into a space with the intention of reducing or eliminating the electric light.

## Slide 39
Daylighting

## Slide 40
High-Performance Building
Engineering design integrates the electric lighting system design with the architectural design to:
► Supplement the changing daylighting levels
► Maintain constant prescribed lighting levels in the space
► Use efficient lighting technologies and control strategies

## Slide 41
Lighting Standards

## Slide 42
Lighting Codes

## Slide 43
Lighting Measurements
Wattage The amount of electricity consumed by a light source
Lumens The amount of light that a light source produces
Footcandles The amount of light reaching a subject
Lux Lumens per meter squared

## Slide 44
Lamp Operating Characteristics
Efficacy Lumens per watt
Life Lamp life rated in hours
Color Color temperature is used to describe the color of light. i.e. INC 2,600 to 3,000 K
CRI Color Rendering Index

## Slide 45
Types of Fixtures

## Slide 46
Lighting Control

## Slide 47
Lighting Control

## Slide 48
Lighting Control

## Slide 49
Lighting Control

## Slide 50
Lighting Control

## Slide 51
Lighting Control

## Slide 52
Occupancy Sensor